## Sewer Manhole
Manhole Number | Subtype | Facility Owner | Manhole Type | Manhole Drop Type | Manhole Size (Feet) | Material | Lining Material | Depth (Feet) | Rim Elevation (Feet) | GPS Y Coord | GPS X Coord | GPS Latitude | GPS Longitude
MH-001 | Sanitary | JEA | Standard | None | 4 | Precast Concrete | None | 8.5 | 12.5 | 1450230.45 | 756892.12 | 30.3241 | -81.6519
MH-002 | Sanitary | JEA | Standard | None | 4 | Precast Concrete | None | 9.2 | 13.1 | 1450415.22 | 756940.88 | 30.3256 | -81.6511
MH-003 | Sanitary | JEA | Drop | Semi-Drop | 5 | Precast Concrete | Cured In Place | 11 | 14.2 | 1450608.77 | 757012.34 | 30.3271 | -81.6501
MH-004 | Sanitary | JEA | Standard | None | 4 | Precast Concrete | None | 7.8 | 11.9 | 1450802.5 | 757083.65 | 30.3286 | -81.6491
MH-005 | Sanitary | JEA | Standard | None | 4 | Precast Concrete | None | 8.1 | 12.3 | 1450998.1 | 757155.2 | 30.3301 | -81.6481

## Sewer Pipe
Pipe Number | Subtype | Facility Owner | Material | Pipe Size (Inches) | Upstream Manhole | Downstream Manhole | Upstream Invert | Downstream Invert | Length (Feet) | Slope (%)
SP-001 | Gravity | JEA | PVC | 8 | MH-001 | MH-002 | 3.85 | 3.6 | 215.4 | 0.116
SP-002 | Gravity | JEA | PVC | 8 | MH-002 | MH-003 | 3.6 | 3.3 | 220.1 | 0.136
SP-003 | Gravity | JEA | Concrete | 12 | MH-003 | MH-004 | 3.1 | 2.8 | 208.8 | 0.144
SP-004 | Gravity | JEA | PVC | 8 | MH-004 | MH-005 | 2.8 | 2.55 | 212.2 | 0.118

## Sewer Fitting
Fitting Number | Subtype | Facility Owner | Fitting Size Primary (Inches) | Fitting Size Reducer (Inches) | Material | Elevation (Feet) | GPS Y Coord | GPS X Coord | GPS Latitude | GPS Longitude
SF-001 | Wye | JEA | 8 | 4 | PVC | 12.1 | 1450320.88 | 756915.4 | 30.3248 | -81.6515
SF-002 | Tee | JEA | 8 | 6 | PVC | 12.8 | 1450512.55 | 756988.12 | 30.3263 | -81.6505

## Sewer Valve
Valve Number | Subtype | Facility Owner | Valve Size (Inches) | Elevation (Feet) | GPS Y Coord | GPS X Coord | GPS Latitude | GPS Longitude
SV-001 | Gate | JEA | 8 | 12.4 | 1450350.1 | 756922.8 | 30.325 | -81.6514
SV-002 | Check | JEA | 8 | 13.2 | 1450700.4 | 757040.55 | 30.3278 | -81.6497

## Sewer Meter
Meter Number | Subtype | Facility Owner | Meter Size (Inches) | GPS Y Coord | GPS X Coord | GPS Latitude | GPS Longitude
SM-001 | Service | JEA | 4 | 1450450.6 | 756958.3 | 30.3258 | -81.6509
SM-002 | Service | JEA | 4 | 1450650.75 | 757020.88 | 30.3273 | -81.6499

## Water Pipe
Pipe Number | Subtype | Facility Owner | Material | Pipe Size (Inches) | Length (Feet)
WP-001 | Distribution | JEA | DI | 8 | 210.5
WP-002 | Distribution | JEA | DI | 8 | 218.3
WP-003 | Transmission | JEA | DI | 12 | 225.1
WP-004 | Distribution | JEA | PVC | 6 | 198.7

## Water Fitting
Fitting Number | Subtype | Facility Owner | Fitting Size Primary (Inches) | Fitting Size Reducer (Inches) | Material | Elevation (Feet) | GPS Y Coord | GPS X Coord | GPS Latitude | GPS Longitude
WF-001 | 90-Deg Bend | JEA | 8 |  | DI | 13.5 | 1450280.2 | 756905.1 | 30.3245 | -81.6517
WF-002 | Tee | JEA | 8 | 6 | DI | 13.8 | 1450480.55 | 756975.4 | 30.326 | -81.6507
WF-003 | Reducer | JEA | 8 | 6 | DI | 13.2 | 1450680.3 | 757045.85 | 30.3275 | -81.6496
WF-004 | 45-Deg Bend | JEA | 12 |  | DI | 14.1 | 1450880.9 | 757115.2 | 30.329 | -81.6486

## Water Valve
Valve Number | Subtype | Facility Owner | Valve Size (Inches) | Open Direction | Turns To Open | Elevation (Feet) | GPS Y Coord | GPS X Coord | GPS Latitude | GPS Longitude
WV-001 | Gate | JEA | 8 | Counter-Clockwise | 14 | 13.6 | 1450260.5 | 756898.2 | 30.3244 | -81.6518
WV-002 | Gate | JEA | 8 | Counter-Clockwise | 14 | 13.9 | 1450460.8 | 756968.55 | 30.3259 | -81.6508
WV-003 | Butterfly | JEA | 12 | Clockwise | 10 | 14.2 | 1450660.2 | 757038.9 | 30.3274 | -81.6498
WV-004 | Gate | JEA | 6 | Counter-Clockwise | 12 | 13.4 | 1450860.6 | 757108.25 | 30.3289 | -81.6487

## Water Hydrant
Hydrant Number | Subtype | Facility Owner | Manufacturer | Elevation (Feet) | GPS Y Coord | GPS X Coord | GPS Latitude | GPS Longitude
WH-001 | Standard | JEA | Mueller | 13.55 | 1450240.15 | 756890.4 | 30.3243 | -81.6519
WH-002 | Standard | JEA | Kennedy | 13.85 | 1450440.7 | 756960.75 | 30.3258 | -81.6509
WH-003 | Standard | JEA | Mueller | 14.15 | 1450640.25 | 757030.1 | 30.3273 | -81.6499
WH-004 | Standard | JEA | Clow | 13.45 | 1450840.8 | 757100.45 | 30.3288 | -81.6489
WH-005 | Standard | JEA | Mueller | 13.75 | 1451040.35 | 757170.8 | 30.3303 | -81.6478

## Water Meter
Meter Number | Subtype | Facility Owner | Meter Size (Inches) | GPS Y Coord | GPS X Coord | GPS Latitude | GPS Longitude
WM-001 | Residential | JEA | 0.75 | 1450250.88 | 756893.5 | 30.3243 | -81.6518
WM-002 | Residential | JEA | 0.75 | 1450452.4 | 756963.8 | 30.3259 | -81.6508
WM-003 | Commercial | JEA | 2 | 1450652.9 | 757034.15 | 30.3274 | -81.6498
WM-004 | Residential | JEA | 0.75 | 1450853.45 | 757104.5 | 30.3289 | -81.6488

## Reclaimed Pipe
Pipe Number | Subtype | Facility Owner | Material | Pipe Size (Inches) | Length (Feet)
RP-001 | Irrigation | JEA | PVC | 4 | 205.3
RP-002 | Irrigation | JEA | PVC | 4 | 211.8

## Reclaimed Fitting
Fitting Number | Subtype | Facility Owner | Fitting Size Primary (Inches) | Fitting Size Reducer (Inches) | Material | Elevation (Feet) | GPS Y Coord | GPS X Coord | GPS Latitude | GPS Longitude
82
84
74
4
2
80
13.2
1450560.3
757005.6
30.3267
-81.6503

## Reclaimed Valve
Valve Number | Subtype | Facility Owner | Valve Size (Inches) | Open Direction | Turns To Open | Elevation (Feet) | GPS Y Coord | GPS X Coord | GPS Latitude | GPS Longitude
82
71
74
4
67
10
13.1
1450580.45
757012.8
30.3268
-81.6502

## Reclaimed Hydrant
Hydrant Number | Subtype | Facility Owner | Manufacturer | Elevation (Feet) | GPS Y Coord | GPS X Coord | GPS Latitude | GPS Longitude
82
83
74
77
13.4
1450600.2
757020.1
30.3269
-81.6501

## Reclaimed Meter
Meter Number | Subtype | Facility Owner | Meter Size (Inches) | GPS Y Coord | GPS X Coord | GPS Latitude | GPS Longitude
82
73
74
1
1450620.55
757027.4
30.327
-81.65